## Slide 1: SafeGrid-AI: An Explainable Multi-Agent System for Dynamic Power Routing
A neuro-symbolic multi-agent controller: language-model agents propose power set-points, a deterministic Symbolic Safety Shield approves, scales down or rejects them, and every decision is explained
REVIEW 1 · PROBLEM IDENTIFICATION AND RESEARCH
Presented by
DISHA KAUSHAL 23K91A0563
BOLLAM RAKESH 23K91A0542
CHINNOLLA RAVINDHAR 23K91A0554
AFFAN MOHAMMED RAMY 23K91A0505
Under the guidance of
CHANDRASHEKAR, [DESIGNATION]
Department of Computer Science and Engineering
TKR College of Engineering and Technology (Autonomous)
Batch A13 (CSE-A) · [ACADEMIC YEAR]
Notes: Introduce the team and the title. One sentence: AI agents propose how power should be routed on a small feeder, and a rule-based shield checks every proposal against the physics before anything is executed.

## Slide 2: Contents
01
Abstract and overview
02
Base paper
03
Literature survey
04
Existing approaches and limitations
05
Research gap
06
Problem statement and objectives
07
Proposed approach and architecture
08
Expected outcomes
09
References
Notes: Agenda. This review is about why the problem matters and what is missing in current work, not yet about results.

## Slide 3: Abstract: AI that proposes, a shield that decides
!
The problem
Grids must balance supply and demand continuously while solar, batteries and electric vehicles add variability. Language-model agents can plan, but a non-deterministic model that issues commands to physical equipment can issue an unsafe one.
i
Our idea
Agents see a structured picture of their node and propose one action. A deterministic Symbolic Safety Shield tests it with a power flow and either approves it, scales it down to the largest safe value, or rejects it.
✓
The deliverable
A simulated three-node feeder, three agents, the shield, an audit log that cannot be edited unnoticed, a REST and WebSocket service and a dashboard that explains each decision.
Notes: Three sentences: the problem, the idea, the deliverable. Stress that the shield is ordinary code, not a model.

## Slide 4: Base paper
S. E. Eyimaya and N. Altin, "Design of multi-agent-based energy management system for DC microgrids," IEEE Access, vol. 14, pp. 39120-39133, 2026, doi: 10.1109/ACCESS.2026.3672618.
M
What it does
Four rule-based agents (distributed energy, energy storage, load, grid) coordinate a DC microgrid with solar, wind, a generator, a battery and critical and non-critical loads, modelled in MATLAB/Simulink.
R
Reported result
The bus voltage is held at 800 V and critical loads stay supplied in all eight operating scenarios of the study.
L
Limits stated by the authors
Scalability, software integration and cybersecurity are open issues, and the work has no experimental validation. It uses no language model, no separate safety layer and no explanation interface.
Notes: Read the citation. We keep the idea of role-based agents and scenario-based evaluation, and add what the paper lists as open: a language-model proposer, an independent safety layer, explanations and a tamper-evident record. The last sentence on the slide is our reading of the paper.

## Slide 5: Literature survey
Work | Approach | Setting | Reported result or status
Eyimaya and Altin, 2026 [1] (base) | Four rule-based agents (DER, storage, load, grid) | DC microgrid, MATLAB/Simulink, 800 V bus | Voltage held at 800 V in 8 scenarios; scalability, security, no experimental validation left open
Zhang et al., 2025 [2] | LLM planner + validation agent with sandbox and rollback | IEEE 69-bus, CIGRE MV, IEEE 30-bus | Best LLM set-ups 100 % success; weaker 63 % and 44 %
Picault, Goubet, 2026 [3] | MCP server exposes a grid simulator to AI agents, human in the loop | TSO studies, pypowsybl-mcp | Position paper: requirements and an evaluation plan, no results
Multi-agent deep RL, 2025 [4] | Multi-agent deep reinforcement learning | Smart-grid energy management | Listed in the batch survey; full text not reviewed
Fault reconstruction, 2024 [5] | Multi-agent deep reinforcement learning | Energy-system fault handling | Listed in the batch survey; full text not reviewed
Distributed EV scheduling, 2025 [6] | Distributed scheduling by vehicle, station and grid agents | Electric-vehicle charging | Listed in the batch survey; full text not reviewed
MAS in power systems, 2025 [7] | Review of multi-agent energy management | Power-grid energy management | Listed in the batch survey; full text not reviewed
McArthur et al., 2007 [8] | Concepts and challenges of agents for power engineering | Survey, Part I | Agents suit distributed grids; verification and trust remain open
Rows 4-7 are taken from the batch literature survey and classified from title and venue only; their authors were not recorded.
Notes: Three papers were read in full: the base paper, Grid-Agent and the MCP position paper. The four conference and review items come from the batch survey; we did not read their full text, so the table says so instead of guessing their results.

## Slide 6: Supporting evidence: agent quality varies widely
Chart: 
| Best LLM configurations | Weaker configuration A | Weaker configuration B
Success rate | 1 | 0.63 | 0.44
Source: Zhang et al. [2], violation-resolution success on IEEE and CIGRE test networks. Their numbers, their systems, not ours.
↑
Takeaway
When the proposer is a language model, outcomes depend heavily on which model is used. A safety rule layer that does not depend on the proposer is therefore attractive.
!
Caveat
These figures measure how often a planner fixed a violation on other networks. We ran no such comparison, so they are context, not a benchmark for our results.
Notes: The chart reports the success rates given in the Grid-Agent paper: the best configurations reach 100 %, weaker ones 63 % and 44 %. They are another group's results on other networks. We use them only to motivate a model-independent safety layer.

## Slide 7: Existing system and current approaches
Grid state measured
Controller decides
Set-points sent
Grid responds
1
Rule-based agents
Fixed logic per role, as in the base paper: predictable in the scenarios it was designed for, but each new topology or source needs new rules and nothing explains why a set-point was chosen.
2
LLM agents with trial and rollback
Grid-Agent plans with a language model and checks the plan in a sandbox, rolling back on failure. Safety is a second agent inside the same framework, not an independent rule layer.
Notes: Two families of existing work: fixed-rule agents and language-model agents with a sandbox. Neither separates the safety rules from the decision maker.

## Slide 8: Limitations of existing methods
1
Fixed rules
Rule sets do not adapt to new sources or topologies; the base paper itself names scalability as open.
2
Unconstrained AI actions
A language model can return a plausible but unsafe or malformed command; trial and rollback acts after the fact.
3
Opaque decisions
Operators will not accept set-points they cannot interrogate; little of the reviewed work offers an explanation interface.
4
Thin verification
The base paper lacks experimental validation and the MCP paper is a position paper without results.
Notes: Four limitations that map to design decisions later: a separate shield, validation before execution, a structured explanation and an evaluation with a baseline.

## Slide 9: Research gap
Independent safety layer
A rule-based gate whose limits are configuration, separate from whichever model proposes the action.
Operator explanation
Per-decision inputs, factors, action and safety result, shown next to the grid, without relying on model reasoning text.
Prosumer-level coordination
Several agents sharing one feeder: conflicting proposals must be detected and ordered, not just validated one by one.
Tamper-evident record
An audit trail in which an edited or removed safety event is detectable.
Measured with and without
The same agents and scenarios run with the shield off and on, so the effect of the layer is a number, not a claim.
Notes: The batch survey states the gap as combining agentic planning with formal safety shielding and operator-facing explanations. The five rows break that into testable pieces.

## Slide 10: Problem statement
Given the observed state of a low-voltage feeder with distributed solar, batteries and an electric vehicle, let several autonomous agents propose power set-points at every control step, and execute only set-points that cannot create or worsen a violation of voltage, line, transformer, battery or import/export limits, while recording a reviewable explanation and an audit trail for every decision.
Input
Seeded scenario, grid state, one proposed action per agent
Output
Approve, project or reject, with an explanation per decision
Record
Hash-chained safety log of every intervention
Notes: Read the statement slowly. Three parts: agents propose, only safe set-points execute, and everything is explained and recorded.

## Slide 11: Objectives
1. Model the grid as a multi-agent system with agents responsible for generation, storage and load.
2. Implement an LLM-driven planning agent that proposes routing actions from observed grid state.
3. Add a safety shielding layer that validates each action against physical and operational constraints.
4. Provide explanations for every routing decision so operators can audit the reasoning.
5. Simulate fault and overload scenarios to test dynamic rerouting behaviour.
6. Evaluate violation resolution rate, decision latency and the number of unsafe actions blocked.
Notes: Six objectives from the batch proposal. Outcomes against each are reported in the final review.

## Slide 12: Proposed approach
1
Perceive
Each agent receives load, solar, battery state, voltage, price, neighbours and the limits.
2
Propose
A language-model provider returns one schema-checked action; failures become a labelled fallback.
3
Validate
The shield runs ten ordered checks with trial power flows and projects unsafe requests by bisection.
4
Explain and log
Inputs, factors and the safety result are stored and chained with SHA-256.
S
Simulation, service and dashboard
pandapower AC power flow on a three-node feeder, FastAPI REST and WebSocket service, SQLite store and a React dashboard for runs, grid, agents, shield and power flow.
Notes: Four stages plus the platform around them. The language-model provider is pluggable; a deterministic mock is used for reproducible measurements.

## Slide 13: High-level proposed architecture
Presentation, application, simulation and safety core, and data tiers; the LLM provider is the only untrusted component
Notes: Follow the diagram left to right: dashboard, API, simulation and safety core, data. The red box is the shield; the orange box is the untrusted proposer.

## Slide 14: Expected outcomes and contributions
1
Working multi-agent loop
Three agents proposing on a simulated feeder every 15 simulated minutes.
2
Safe execution
No executed action that creates or worsens a limit violation, to be tested over many runs.
3
Visible reasoning
A structured explanation and a safety verdict for every decision.
4
Honest evaluation
Same scenarios with and without the shield, with the limits of the test stated.
5
Auditability
A hash-chained log that reveals edits to the record.
6
Usable system
A service and dashboard an operator can run, step and inspect.
Notes: These are expectations at this stage, not results. The final review reports the measured values and the gaps.

## Slide 15: References
[1] S. E. Eyimaya and N. Altin, "Design of multi-agent-based energy management system for DC microgrids," IEEE Access, vol. 14, pp. 39120-39133, 2026, doi: 10.1109/ACCESS.2026.3672618.
[2] Y. Zhang, A. M. Saber, A. Youssef, and D. Kundur, "Grid-Agent: An LLM-powered multi-agent system for power grid control," arXiv:2508.05702, Aug. 2025.
[3] J. Picault and C. Goubet, "Orchestrating power grid studies with multi-agent AI and MCP servers," arXiv:2607.14158, Jul. 2026.
[8] S. D. J. McArthur et al., "Multi-agent systems for power engineering applications - Part I: Concepts, approaches, and technical challenges," IEEE Trans. Power Syst., vol. 22, no. 4, pp. 1743-1752, Nov. 2007, doi: 10.1109/TPWRS.2007.908471.
[11] L. Thurner et al., "pandapower - An open-source Python tool for convenient modeling, analysis, and optimization of electric power systems," IEEE Trans. Power Syst., vol. 33, no. 6, pp. 6510-6521, Nov. 2018, doi: 10.1109/TPWRS.2018.2829021.
[12] M. Alshiekh, R. Bloem, R. Ehlers, B. Konighofer, S. Niekum, and U. Topcu, "Safe reinforcement learning via shielding," in Proc. AAAI Conf. Artif. Intell., 2018, pp. 2669-2678.
[13] G. Dalal, K. Dvijotham, M. Vecerik, T. Hester, C. Paduraru, and Y. Tassa, "Safe exploration in continuous action spaces," arXiv:1801.08757, 2018.
[15] D. Amodei, C. Olah, J. Steinhardt, P. Christiano, J. Schulman, and D. Mane, "Concrete problems in AI safety," arXiv:1606.06565, 2016.
[16] S. Yao et al., "ReAct: Synergizing reasoning and acting in language models," in Proc. Int. Conf. Learn. Represent. (ICLR), 2023.
[17] M. Turpin, J. Michael, E. Perez, and S. R. Bowman, "Language models don't always say what they think: Unfaithful explanations in chain-of-thought prompting," in Proc. Adv. Neural Inf. Process. Syst. (NeurIPS), 2023.
Notes: Selected references; the full list is in the project report.

## Slide 16: Thank you
Questions and suggestions are welcome.
Notes: Likely questions: why a mock model (reproducible, no key needed, provider is pluggable); is the guarantee a proof (no, it is relative to the simulated model); why a three-node feeder.